## Sheet1
No | Nama Barang | Kode_Item | Spesifikasi | Merek | Type | Kota | Jumlah | kdpti | Harga
1 | Laboratorium Bahasa Digital | 01020101a | Kapasitas 24 mahasiswa ¦ Master control: Seat quantity maximal 120 seat with computer and mobile keyboard connection jack which is available to realize. Dual control of the main console: A (is not built-in amplifier, that means if need to connect, to external speaker, the speaker should hsve amplifier) and B (is not built-in amplifier, which is no request, additional amplifier for speaker, terdapat output AV, menghubungkan dengan external edutional recorder, menghubungkan dengan kabel UPT (LAN) ke komputer (kondisional jika ada komputer), terdapat saklar power ON/OFF, terdapat lima port untuk kabel DB5 ke client (AB, CD, EF, GH, IJ), terdapat output audio ¦ Master Keyboard Console: Available to take pleace of the teachercomputer to control the system also available to work together with the teacher computer to realize dual control to the system so that the system still can work when teacher computer meet some problem (max seats is 150)¦ Dual Control System, melalui PC Guru dan Keyboard, Penyesuai kecepatan tape, Fungsi Sentence Pause (3 audio channel, 8 Audio input channel), Fungsi pengulang secara otomatis, Perekaman secara mutual antara 2 master recorder, Fungsi pengawasan perekaman, Fungsi latihan / test, Fungsi test, System self-detection, Roll call function, Student recording ¦ Master Power Supply: Output voltage : +12V, Current : 22A/40A, Output Power : 400W ¦ Meja Master: Bahan partikel dilapisi Takonsit Model U, Dimensi minimal 218 x 118 x 70 cm, ketebalan minimal 15 mm ¦ Kursi Master: Kursi Putar dengan 5 roda dilengkapi sandaran tangan model manager ¦ LCD Projector: XGA, 2.800 lumenss, Projections Lens:Manual focus and optional, Lamp Life 5.000 hours (Normal)/10.000 hours (eco), include bracket mounting ¦ DVD Player: Video DAC : 108MHz/ 14bit, Audio DAC: 192 KHz/ 24 bit, DVD (PAL), DVD (NTSC), AUDIO- CD, CD-R/-RW, DVD-R/-RW (Video Mode), DVD+R/+RW, VCD/SVCD, Quick loading, Photo Album/ Audio Juke Box, Progressive scan, Power On/ Off, Open/Close, Play/Pause, Stop, Scan(Fwd), Scan(Rev), Karaoke - Mic : Yes (2 Jack), Karaoke - Vol, Rear Panel, Video Out- Composite, Video out- Component RCA type (Y/Pb/Pr) Video- MPEG4, GUI ¦ Educational Recorder: Explanation Function, Bookmark Function, Cycle play Function, SP Function, Dual channel, Mutual recording, Memory counter, Reset, Stop, Play, Rewind, Fast Forward, Eject, Pause, Input Level : -22dB, 47k? or more, Output Level : -10dB, 100?, Frequency Response : 63Hz~10kHz, S/N Ratio : > 49dB, Distortion : < 1%, Wow and flutter : < 0.1%, Recording : AC bias (approx.150kHz), Power Supply : DC+12V ¦ Komputer Master: Intel Pentium Core i3, 320 Gb, DDR3 2 Gb, VGA : On board, Sound Card : On Board, Optical Drive : DVDRW, Casing : ATX 400 Watt, Monitor : LCD 18.5 ", Keyboard : USB, Mouse : Optical USB, Original Windows 7 Professional ¦ Printer: Multifunction print scan copy, Inkjet, A4, 4800x1200dpi, Scanner Type: Flatbed, Optical Resolution: 1200x2400dpi ¦ Mic Wireless: wireless up 25m ¦ Headset: 25 unit, Microphone : 9x7/58±2dB, Impedance : 32 Ohm at 1 KHz, Sensitivity : 105dB/mW, Frequency response : 20~20,000Hz, Cord length : Approx.2~3M, Menggunakan kabel ulir atau swivel ¦ UPS: 600VA, Line Interactive UPS Boost & Buck AVR, Proteksi Tegangan Tinggi & Rendah, Proteksi Modem & Line (Anti petir), Interface & Software, Baterai Type Lead-Acid, Bebas Perawatan ¦ Student Audio Panel: 24 unit, Dapat memilih 2 program dari master, LCD Display, Fungsi CALL, Fungsi Exam, Fungsi setting tempat duduk siswa, Fungsi pengaturan volume suara, Fungsi equalizer/effect, Fungsi Standby untuk berpindah ke mode audio standby atau play, Dapat menjalan/memutar file audio, Fungsi untuk menjalankan file audio berikutnya, Fungsi untuk menjalankan file audio sebelumnya, Fungsi Repeat (Pengulangan paragraf/kalimat), Fungsi perekaman, dapat merekam 60 jam (untuk 4 Gb), Dapat merekam 2 channel program yg berbeda, Self Learning (Belajar Mandiri), Dapat setting nomor meja, Fungsi perekam, dapat merekam unlimited | WinnerTech | WT06N | Bima | 1 | 083051 | 999999
2 | Laboratorium Bahasa Digital | 01020101a | Kapasitas 24 mahasiswa ¦ Master control: Seat quantity maximal 120 seat with computer and mobile keyboard connection jack which is available to realize. Dual control of the main console: A (is not built-in amplifier, that means if need to connect, to external speaker, the speaker should hsve amplifier) and B (is not built-in amplifier, which is no request, additional amplifier for speaker, terdapat output AV, menghubungkan dengan external edutional recorder, menghubungkan dengan kabel UPT (LAN) ke komputer (kondisional jika ada komputer), terdapat saklar power ON/OFF, terdapat lima port untuk kabel DB5 ke client (AB, CD, EF, GH, IJ), terdapat output audio ¦ Master Keyboard Console: Available to take pleace of the teachercomputer to control the system also available to work together with the teacher computer to realize dual control to the system so that the system still can work when teacher computer meet some problem (max seats is 150)¦ Dual Control System, melalui PC Guru dan Keyboard, Penyesuai kecepatan tape, Fungsi Sentence Pause (3 audio channel, 8 Audio input channel), Fungsi pengulang secara otomatis, Perekaman secara mutual antara 2 master recorder, Fungsi pengawasan perekaman, Fungsi latihan / test, Fungsi test, System self-detection, Roll call function, Student recording ¦ Master Power Supply: Output voltage : +12V, Current : 22A/40A, Output Power : 400W ¦ Meja Master: Bahan partikel dilapisi Takonsit Model U, Dimensi minimal 218 x 118 x 70 cm, ketebalan minimal 15 mm ¦ Kursi Master: Kursi Putar dengan 5 roda dilengkapi sandaran tangan model manager ¦ LCD Projector: XGA, 2.800 lumenss, Projections Lens:Manual focus and optional, Lamp Life 5.000 hours (Normal)/10.000 hours (eco), include bracket mounting ¦ DVD Player: Video DAC : 108MHz/ 14bit, Audio DAC: 192 KHz/ 24 bit, DVD (PAL), DVD (NTSC), AUDIO- CD, CD-R/-RW, DVD-R/-RW (Video Mode), DVD+R/+RW, VCD/SVCD, Quick loading, Photo Album/ Audio Juke Box, Progressive scan, Power On/ Off, Open/Close, Play/Pause, Stop, Scan(Fwd), Scan(Rev), Karaoke - Mic : Yes (2 Jack), Karaoke - Vol, Rear Panel, Video Out- Composite, Video out- Component RCA type (Y/Pb/Pr) Video- MPEG4, GUI ¦ Educational Recorder: Explanation Function, Bookmark Function, Cycle play Function, SP Function, Dual channel, Mutual recording, Memory counter, Reset, Stop, Play, Rewind, Fast Forward, Eject, Pause, Input Level : -22dB, 47k? or more, Output Level : -10dB, 100?, Frequency Response : 63Hz~10kHz, S/N Ratio : > 49dB, Distortion : < 1%, Wow and flutter : < 0.1%, Recording : AC bias (approx.150kHz), Power Supply : DC+12V ¦ Komputer Master: Intel Pentium Core i3, 320 Gb, DDR3 2 Gb, VGA : On board, Sound Card : On Board, Optical Drive : DVDRW, Casing : ATX 400 Watt, Monitor : LCD 18.5 ", Keyboard : USB, Mouse : Optical USB, Original Windows 7 Professional ¦ Printer: Multifunction print scan copy, Inkjet, A4, 4800x1200dpi, Scanner Type: Flatbed, Optical Resolution: 1200x2400dpi ¦ Mic Wireless: wireless up 25m ¦ Headset: 25 unit, Microphone : 9x7/58±2dB, Impedance : 32 Ohm at 1 KHz, Sensitivity : 105dB/mW, Frequency response : 20~20,000Hz, Cord length : Approx.2~3M, Menggunakan kabel ulir atau swivel ¦ UPS: 600VA, Line Interactive UPS Boost & Buck AVR, Proteksi Tegangan Tinggi & Rendah, Proteksi Modem & Line (Anti petir), Interface & Software, Baterai Type Lead-Acid, Bebas Perawatan ¦ Student Audio Panel: 24 unit, Dapat memilih 2 program dari master, LCD Display, Fungsi CALL, Fungsi Exam, Fungsi setting tempat duduk siswa, Fungsi pengaturan volume suara, Fungsi equalizer/effect, Fungsi Standby untuk berpindah ke mode audio standby atau play, Dapat menjalan/memutar file audio, Fungsi untuk menjalankan file audio berikutnya, Fungsi untuk menjalankan file audio sebelumnya, Fungsi Repeat (Pengulangan paragraf/kalimat), Fungsi perekaman, dapat merekam 60 jam (untuk 4 Gb), Dapat merekam 2 channel program yg berbeda, Self Learning (Belajar Mandiri), Dapat setting nomor meja, Fungsi perekam, dapat merekam unlimited | WinnerTech | WT06N | Lampung | 1 | 021026 | 999999
3 | Laboratorium Bahasa Digital | 01020101a | Kapasitas 24 mahasiswa ¦ Master control: Seat quantity maximal 120 seat with computer and mobile keyboard connection jack which is available to realize. Dual control of the main console: A (is not built-in amplifier, that means if need to connect, to external speaker, the speaker should hsve amplifier) and B (is not built-in amplifier, which is no request, additional amplifier for speaker, terdapat output AV, menghubungkan dengan external edutional recorder, menghubungkan dengan kabel UPT (LAN) ke komputer (kondisional jika ada komputer), terdapat saklar power ON/OFF, terdapat lima port untuk kabel DB5 ke client (AB, CD, EF, GH, IJ), terdapat output audio ¦ Master Keyboard Console: Available to take pleace of the teachercomputer to control the system also available to work together with the teacher computer to realize dual control to the system so that the system still can work when teacher computer meet some problem (max seats is 150)¦ Dual Control System, melalui PC Guru dan Keyboard, Penyesuai kecepatan tape, Fungsi Sentence Pause (3 audio channel, 8 Audio input channel), Fungsi pengulang secara otomatis, Perekaman secara mutual antara 2 master recorder, Fungsi pengawasan perekaman, Fungsi latihan / test, Fungsi test, System self-detection, Roll call function, Student recording ¦ Master Power Supply: Output voltage : +12V, Current : 22A/40A, Output Power : 400W ¦ Meja Master: Bahan partikel dilapisi Takonsit Model U, Dimensi minimal 218 x 118 x 70 cm, ketebalan minimal 15 mm ¦ Kursi Master: Kursi Putar dengan 5 roda dilengkapi sandaran tangan model manager ¦ LCD Projector: XGA, 2.800 lumenss, Projections Lens:Manual focus and optional, Lamp Life 5.000 hours (Normal)/10.000 hours (eco), include bracket mounting ¦ DVD Player: Video DAC : 108MHz/ 14bit, Audio DAC: 192 KHz/ 24 bit, DVD (PAL), DVD (NTSC), AUDIO- CD, CD-R/-RW, DVD-R/-RW (Video Mode), DVD+R/+RW, VCD/SVCD, Quick loading, Photo Album/ Audio Juke Box, Progressive scan, Power On/ Off, Open/Close, Play/Pause, Stop, Scan(Fwd), Scan(Rev), Karaoke - Mic : Yes (2 Jack), Karaoke - Vol, Rear Panel, Video Out- Composite, Video out- Component RCA type (Y/Pb/Pr) Video- MPEG4, GUI ¦ Educational Recorder: Explanation Function, Bookmark Function, Cycle play Function, SP Function, Dual channel, Mutual recording, Memory counter, Reset, Stop, Play, Rewind, Fast Forward, Eject, Pause, Input Level : -22dB, 47k? or more, Output Level : -10dB, 100?, Frequency Response : 63Hz~10kHz, S/N Ratio : > 49dB, Distortion : < 1%, Wow and flutter : < 0.1%, Recording : AC bias (approx.150kHz), Power Supply : DC+12V ¦ Komputer Master: Intel Pentium Core i3, 320 Gb, DDR3 2 Gb, VGA : On board, Sound Card : On Board, Optical Drive : DVDRW, Casing : ATX 400 Watt, Monitor : LCD 18.5 ", Keyboard : USB, Mouse : Optical USB, Original Windows 7 Professional ¦ Printer: Multifunction print scan copy, Inkjet, A4, 4800x1200dpi, Scanner Type: Flatbed, Optical Resolution: 1200x2400dpi ¦ Mic Wireless: wireless up 25m ¦ Headset: 25 unit, Microphone : 9x7/58±2dB, Impedance : 32 Ohm at 1 KHz, Sensitivity : 105dB/mW, Frequency response : 20~20,000Hz, Cord length : Approx.2~3M, Menggunakan kabel ulir atau swivel ¦ UPS: 600VA, Line Interactive UPS Boost & Buck AVR, Proteksi Tegangan Tinggi & Rendah, Proteksi Modem & Line (Anti petir), Interface & Software, Baterai Type Lead-Acid, Bebas Perawatan ¦ Student Audio Panel: 24 unit, Dapat memilih 2 program dari master, LCD Display, Fungsi CALL, Fungsi Exam, Fungsi setting tempat duduk siswa, Fungsi pengaturan volume suara, Fungsi equalizer/effect, Fungsi Standby untuk berpindah ke mode audio standby atau play, Dapat menjalan/memutar file audio, Fungsi untuk menjalankan file audio berikutnya, Fungsi untuk menjalankan file audio sebelumnya, Fungsi Repeat (Pengulangan paragraf/kalimat), Fungsi perekaman, dapat merekam 60 jam (untuk 4 Gb), Dapat merekam 2 channel program yg berbeda, Self Learning (Belajar Mandiri), Dapat setting nomor meja, Fungsi perekam, dapat merekam unlimited | WinnerTech | WT06N | Makassar | 1 | 095007 | 999999
4 | Laboratorium Bahasa Digital | 01020101a | Kapasitas 24 mahasiswa ¦ Master control: Seat quantity maximal 120 seat with computer and mobile keyboard connection jack which is available to realize. Dual control of the main console: A (is not built-in amplifier, that means if need to connect, to external speaker, the speaker should hsve amplifier) and B (is not built-in amplifier, which is no request, additional amplifier for speaker, terdapat output AV, menghubungkan dengan external edutional recorder, menghubungkan dengan kabel UPT (LAN) ke komputer (kondisional jika ada komputer), terdapat saklar power ON/OFF, terdapat lima port untuk kabel DB5 ke client (AB, CD, EF, GH, IJ), terdapat output audio ¦ Master Keyboard Console: Available to take pleace of the teachercomputer to control the system also available to work together with the teacher computer to realize dual control to the system so that the system still can work when teacher computer meet some problem (max seats is 150)¦ Dual Control System, melalui PC Guru dan Keyboard, Penyesuai kecepatan tape, Fungsi Sentence Pause (3 audio channel, 8 Audio input channel), Fungsi pengulang secara otomatis, Perekaman secara mutual antara 2 master recorder, Fungsi pengawasan perekaman, Fungsi latihan / test, Fungsi test, System self-detection, Roll call function, Student recording ¦ Master Power Supply: Output voltage : +12V, Current : 22A/40A, Output Power : 400W ¦ Meja Master: Bahan partikel dilapisi Takonsit Model U, Dimensi minimal 218 x 118 x 70 cm, ketebalan minimal 15 mm ¦ Kursi Master: Kursi Putar dengan 5 roda dilengkapi sandaran tangan model manager ¦ LCD Projector: XGA, 2.800 lumenss, Projections Lens:Manual focus and optional, Lamp Life 5.000 hours (Normal)/10.000 hours (eco), include bracket mounting ¦ DVD Player: Video DAC : 108MHz/ 14bit, Audio DAC: 192 KHz/ 24 bit, DVD (PAL), DVD (NTSC), AUDIO- CD, CD-R/-RW, DVD-R/-RW (Video Mode), DVD+R/+RW, VCD/SVCD, Quick loading, Photo Album/ Audio Juke Box, Progressive scan, Power On/ Off, Open/Close, Play/Pause, Stop, Scan(Fwd), Scan(Rev), Karaoke - Mic : Yes (2 Jack), Karaoke - Vol, Rear Panel, Video Out- Composite, Video out- Component RCA type (Y/Pb/Pr) Video- MPEG4, GUI ¦ Educational Recorder: Explanation Function, Bookmark Function, Cycle play Function, SP Function, Dual channel, Mutual recording, Memory counter, Reset, Stop, Play, Rewind, Fast Forward, Eject, Pause, Input Level : -22dB, 47k? or more, Output Level : -10dB, 100?, Frequency Response : 63Hz~10kHz, S/N Ratio : > 49dB, Distortion : < 1%, Wow and flutter : < 0.1%, Recording : AC bias (approx.150kHz), Power Supply : DC+12V ¦ Komputer Master: Intel Pentium Core i3, 320 Gb, DDR3 2 Gb, VGA : On board, Sound Card : On Board, Optical Drive : DVDRW, Casing : ATX 400 Watt, Monitor : LCD 18.5 ", Keyboard : USB, Mouse : Optical USB, Original Windows 7 Professional ¦ Printer: Multifunction print scan copy, Inkjet, A4, 4800x1200dpi, Scanner Type: Flatbed, Optical Resolution: 1200x2400dpi ¦ Mic Wireless: wireless up 25m ¦ Headset: 25 unit, Microphone : 9x7/58±2dB, Impedance : 32 Ohm at 1 KHz, Sensitivity : 105dB/mW, Frequency response : 20~20,000Hz, Cord length : Approx.2~3M, Menggunakan kabel ulir atau swivel ¦ UPS: 600VA, Line Interactive UPS Boost & Buck AVR, Proteksi Tegangan Tinggi & Rendah, Proteksi Modem & Line (Anti petir), Interface & Software, Baterai Type Lead-Acid, Bebas Perawatan ¦ Student Audio Panel: 24 unit, Dapat memilih 2 program dari master, LCD Display, Fungsi CALL, Fungsi Exam, Fungsi setting tempat duduk siswa, Fungsi pengaturan volume suara, Fungsi equalizer/effect, Fungsi Standby untuk berpindah ke mode audio standby atau play, Dapat menjalan/memutar file audio, Fungsi untuk menjalankan file audio berikutnya, Fungsi untuk menjalankan file audio sebelumnya, Fungsi Repeat (Pengulangan paragraf/kalimat), Fungsi perekaman, dapat merekam 60 jam (untuk 4 Gb), Dapat merekam 2 channel program yg berbeda, Self Learning (Belajar Mandiri), Dapat setting nomor meja, Fungsi perekam, dapat merekam unlimited | WinnerTech | WT06N | Singkawang | 1 | 113085 | 999999
5 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Aceh Selatan | 1 | 135003 | 999999
6 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Cimahi | 1 | 043284 | 999999
7 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | ENDE | 1 | 081019 | 999999
8 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | JAYAPURA | 1 | 143009 | 999999
9 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Medan | 1 | 014020 | 999999
10 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Purwokerto | 1 | 063065 | 999999
11 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Purworejo | 1 | 061025 | 999999
12 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | SEMARANG | 1 | 061034 | 999999
13 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Surabaya | 1 | 073010 | 999999
14 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Yogyakarta | 1 | 053004 | 999999
15 | Laboratorium Bahasa Digital | 01020102b | Kapasitas 24 mahasiswa, Master kontrol+Software: Pengendali utama sistem lab bahasa yang berbasis software komputer. SYSTEM CONTROL: Micro Control System with internal memory, RS 232 Control, Digital Circuit Operating Voltage 5 VDC +/- 3% TTL Level, Data Speed 19200 Kbps, High Power Amplifier, Tone Control DC Voltage, Pre Amplifier DC Voltage, Output Headset Earphone 8-16 Ohm, Output Room Speaker 8 Ohm, Power Supply: 220/240V - 50 Hz, Power Consumption: 300 - 400 Watt, Input: Headset 30-60 Ohm Master Tape, DVD Computer,Audio Recorder, Auxiliary Frequency Response: 100 - 10.000 Hz S/N Ratio 50dB, Maximum absolute ratings: 1. Operating Voltage: 24 VDC (Audio Circuit), 6 VDC (Digital Circuit), 2. Operating Temperatures 85 Degrees Celcius, 3. Stand by Temperature 30 Degree Celcius, SOFTWARE CONTROL: Listening function, Intercom function, Conversation, Video Repeater, Recording audio format mp3, Visualized, Attender names and layout, Preprogrammbale, Seat Layout, User Friendly Graphical User Interface (GUI), Database class, teacher, student as user entries, Keyboard Control, Group Selector, Autorun with Adjustable Delay ¦ Komputer Master: Core i3-3.7,2 gb, hdd 500,dvdrw, Reader/HDMI,Key+ms/led 20", No speaker, garansi resmi, Windows Resmi ¦ Master Tape Deck: DVD/SVCD/VCD/CD/MP3/MPEG4/MPG/JPEG, 8 Preset Equalizer dan 2 user setting, Surround, Bazzoke, Echo, Clock, Audio, AM/FM with 20 ch memory, Karaoke (AVC dan PMX), Sleep Timer, ON/OFF Timer, Single Deck Cassette Recorder, Band function: Bass, Guitar, Keyboard, SD/MMC/MC Card Slot, USB port, Docking, Terminal, Remote Control, Power Consumption: 100w ¦ Headset: 25 Unit, MIC: type: condenser¦ freq response: 30 - 16.000 Hz¦ impendece 32 Ohm¦ sensitivity -58 +/- -3 dB, EARPHONE: freq response: 20-16.000 Hz¦ Impendence 32 Ohm¦ sensitivity: 105 dB/mW¦ cable length: 1.5 m¦ connector/plug: 3 pin ¦ UPS: Capacity 600 VA 160-240V, AC 50 Hz + input, voltage 10%, output voltage : 220 V, AC 50 Hz ¦ Mic Wireless: Frequency Stabilization: <±30, Dynamic Range: > 80dB, Total Harmonic Distortion: > 0.5%, Frequency Response: 40Hz - 18 KHz ± 3 dB, Signal-to-Noise Ratio: ? 100dB, Signal/Noise Ratio: >82dB ¦ Meja Master: Bahan : particle board 15 mm dengan laminasi, PVC sheet warna beech model U/Standart, ukuran model U: 210 x 120 x 75 cm,ukuran model standart : 180 x 80 x 75 cm , barang buatan pabrik (knock down system) ¦ Kursi Master: Kursi dapat diputar, mempunyai sandaran, lengan, tinggi dapat di atur ¦ Document Camera: Document Camera, 8X digital zoom, freeze, output VGA & DVI, 850K pixel, Resolution XGA ¦ Audio Recorder: 25 unit, Support MP3, WMA, WAV, Support USB/SD Memory, Recorder rate: highet bit rate for 192 Kbps, LCD Display, support multilateral languages, enter subdirectory, scan folders, display lyrics, line in record, the external audio source can be recorded into the SD card or U disk, Connect computer, USB sound card. Additional function: Calendar, clock, alarm clock, can by USB cable connect to computer to download SD card, IR remote control, support multilanguage, reach to 24 countries ¦ Mouse Pen Tablet: 8"x6" working area, comfortable for easy drawing, painting, and using the PC Cordless mouse and pen design gives you unlimited freedom 3D scroll wheel for fast browsing on the internet and in windows documents make handwriting notes/drawings on the internet & any application program 1024-level pressure sensitivity for all kinds of shapes and thickness control ¦ Central Control: Power Supply: 220/240V, Signal Interface: Audio/video input & output, VGA input (unclude laptop, VGA output, 3.5 stereo output, Power Control: Built -in projector power off protection, Delay time can be modified, built-in electronic screen's power supply, Control Method: DB9 standard learning interface, infrared RS485 bilateral control ¦ Online Class Software ¦ Student Console: 24 Unit, Frequency Response: 63-10.000 Hz S/N Ratio: > 50 dB, Distortion : < 3 %, Input Mic : - 60 dB, Intercom: - 15 dB, 5000, H | Arion Indonesia | MGLab | Yogyakarta | 1 | 054039 | 999999